## READ_ME
Smoking guns and volcanic ash: the importance of sparse tephras in Greenland ice cores
Gill Plunkett, Michael Sigl, Jonathan R. Pilcher, Joseph R. McConnell, Nathan Chellman, J.P. Steffensen & Ulf Büntgen
Polar Research
1) Details of samples examined from NEEM-2011-S1 and TUNU2013.
2) Major element geochemistry (wt%) of glass shards from the 815 to 835 CE interval of the NEEM-2011-S1 and TUNU2013 ice cores. Samples were analysed on a JEOL FEGSEM 6500F at Queen's University Belfast, following the parameters outlined by Coulter et al. (2010), with the addition of Cl measured by electron dispersive spectrometry and P measured by wavelength dispersive spectrometry (30 s peak count, 10 s background) and a total live analysis time of 150 s.
3) Major element geochemistry (wt%) of secondary glass standards (as available) measured during analytical sessions, and published values.
References
Coulter S.E., Pilcher J.R., Hall V.A., Plunkett G. & Davies S.M. 2010. Testing the reliability of the JEOL FEGSEM 6500F electron microprobe for quantitative major element analysis of glass shards from rhyolitic tephra. Boreas 39, 163-169.
Kuehn S.C., Froese D.G. & Shane P.A.R. 2011. The INTAV intercomparison of electron-beam microanalysis of glass by tephrochronology laboratories, results and recommendations. Quaternary International 246, 19-47.
Óskarsson N., Sigvaldason G.E. & Steinthórsson S. 1982. A dynamic model of rift zone petrogenesis and the regional petrology of Iceland. Journal of Petrology 23, 28-74.

## Sample details
NEEM-2011-S1
From (m) | to (m) | Mid-point age CE | Mass ice (g) | Eqivalent surface area (cm2) | QUB- | Tephra | Coarse (>10 μm) particle concentration (grains g-1)
273.35 | 273.13 | 815.295 | 353 | 16.0455 | 1835 | 1 shard | 0.073654
273.13 | 272.91 | 816.565 | 306 | 13.9091 | 1836 | no tephra | 0.0098039
272.91 | 272.69 | 817.855 | 348 | 15.8182 | 1837 | no tephra | 0.068966
272.69 | 272.47 | 819.125 | 362 | 16.4545 | 1838 | no tephra | 0.013812
272.47 | 272.25 | 820.4375 | 341 | 15.5 | 1839 | no tephra | 0.046921
272.25 | 272.03 | 821.5825 | 355 | 16.1364 | 1840 | no tephra | 0.042254
272.03 | 271.83 | 822.499 | 308 | 15.4 | 1841 | 1 probable shard | 0.064935
271.83 | 271.59 | 823.375 | 390 | 16.25 | 1842 | no tephra | 0.094872
271.59 | 271.37 | 824.3335 | 322 | 14.6364 | 1843 | no tephra | 0.024845
271.37 | 271.15 | 825.3975 | 327 | 14.8636 | 1844 | no tephra | 0.033639
271.15 | 270.93 | 826.415 | 367 | 16.6818 | 1845 | no tephra | 0.010899
270.93 | 270.71 | 827.53 | 341 | 15.5 | 1846 | no tephra | 0.029326
270.71 | 270.49 | 828.846 | 193 | 8.7727 | 1847 | no tephra | 0.16062
270.49 | 270.27 | 830.561 | 331 | 15.0455 | 1848 | no tephra | 0.057402
270.27 | 270.05 | 831.79 | 313 | 14.2273 | 1849 | no tephra | 0.079872
270.05 | 269.83 | 832.45 | 356 | 16.1818 | 1850 | no tephra | 0.016854
269.83 | 269.61 | 833.49 | 357 | 16.2273 | 1851 | no tephra | 0.019608
269.61 | 269.39 | 834.685 | 357 | 16.2273 | 1852 | no tephra | 0.014006
269.39 | 269.17 | 835.835 | 301 | 13.6818 | 1853 | no tephra | 0.13621
269.17 | 268.93 | 836.855 | 357 | 14.875 | 1854 | no tephra | 0.014006
TUNU2013
From (m) | To (m) | Mid-point age CE | Mass ice (g) | Eqivalent surface area (cm2) | QUB- | Tephra | Coarse (>10 μm) particle concentration (grains g-1)
152.705 | 152.605 | 814.2685 | 169 | 16.9 | 1870 | possible tephra (colourless and brown; blocky, platey) | 1.5089
152.605 | 152.505 | 815.2009 | 169 | 16.9 | 1871 | no tephra | 0.2071
152.505 | 152.405 | 816.1296 | 171 | 17.1 | 1872 | 1 + 5 probable shards | 0.5731
152.405 | 152.305 | 817.0556 | 169 | 16.9 | 1873 | 1 brown | 0.51479
152.305 | 152.205 | 818.0049 | 164 | 16.4 | 1874 | no tephra | 0.43902
152.205 | 152.105 | 819.0158 | 165 | 16.5 | 1875 | no tephra | 0.4303
152.105 | 152.005 | 820.0684 | 177 | 17.7 | 1876 | no tephra | 0.74576
152.005 | 151.905 | 821.1277 | 162 | 16.2 | 1877 | no tephra | 0.40123
151.905 | 151.805 | 822.1566 | 170 | 17 | 1878 | no tephra | 0.33529
151.805 | 151.705 | 823.1286 | 170 | 17 | 1879 | no tephra | 0.51765
151.705 | 151.605 | 824.0648 | 207 | 20.7 | 1880 | 4 colourless + 4 possible shards | 0.36232
151.605 | 151.505 | 824.9907 | 141 | 14.1 | 1881 | no tephra | 0.46809
151.505 | 151.405 | 825.9167 | 170 | 17 | 1882 | no tephra | 0.41176
151.405 | 151.305 | 826.8426 | 174 | 17.4 | 1883 | 3+ platey types - uncertain | 1.0575
151.305 | 151.205 | 827.771 | 171 | 17.1 | 1884 | no tephra | 0.26316
151.205 | 151.105 | 828.7037 | 170 | 17 | 1885 | no tephra | 0.21765
151.105 | 151.005 | 829.6296 | 168 | 16.8 | 1886 | no tephra | 0.31548
151.005 | 150.905 | 830.5556 | 180 | 18 | 1887 | no tephra | 0.21111
150.905 | 150.805 | 831.4815 | 170 | 17 | 1888 | no tephra | 0.31176
150.805 | 150.695 | 832.4537 | 229 | 20.8182 | 1889 | no tephra | 0.75109
TUNU2013 [core 157]*
From (m) | to (m) | Mid-point age CE | Mass ice (g) | Equivalent surface area (cm2) | QUB- | QUB | Coarse (>10 μm) particle number
152.445 | 152.385 | 821.7 | no data | - | 1975 | no tephra | 40
152.385 | 152.3 | 822.2 | no data | - | 1974 | 1 shard | 26
152.3 | 152.255 | 822.8 | no data | - | 1984 | no tephra | 14
*Samples from parallel core 157. Depths synchronized to main core based on sulphur record.

## Major element geochemistry
|  |  |  | Raw data | [12 empty] | Normalised data
NS1-2011 Age | Sample no. | Correlative | Shard no. | SiO2 | TiO2 | Al2O3 | FeOtotal | MnO | MgO | CaO | Na2O | K2O | P2O5 | Cl | Total | Date of analysis | SiO2 | TiO2 | Al2O3 | FeOtotal | MnO | MgO | CaO | Na2O | K2O | P2O5 | Cl | Total
815 | QUB-1835 | Unknown | #1 | 67.93 | 0.08 | 11.81 | 1.36 | 0.07 | 0.04 | 0.75 | 3.47 | 4.6 | - | 0.43 | 90.55 | 2013-07-10 | 75.3773 | 0.088771 | 13.1047 | 1.5091 | 0.077674 | 0.044385 | 0.83222 | 3.8504 | 5.1043 | - | 0.47714 | 90.55
|  |  | #1 | 67.57 | 0.07 | 11.74 | 1.56 | 0.06 | 0.07 | 0.7 | 3.7 | 4.28 | - | 0.52 | 89.34 | 2013-07-10 | 76.0752 | 0.078811 | 13.2177 | 1.7564 | 0.067552 | 0.078811 | 0.78811 | 3.1412 | 4.8187 | - | 0.58545 | 89.34
|  |  | #1 | 71.69 | 0.03 | 12.49 | 1.51 | 0 | 0.04 | 0.73 | 2.97 | 4.45 | - | 0.42 | 94.33 | 2013-07-10 | 76.339 | 0.031945 | 13.3 | 1.6079 | 0 | 0.042594 | 0.77734 | 3.1626 | 4.7386 | - | 0.44724 | 94.33
816 | QUB-1872 | Unknown | #1 | 73.15 | 0.09 | 11.76 | 0.22 | -0.09 | -0.01 | 0.33 | 3.22 | 3.0268 | -0.03 | 0.15 | 91.8168 | 2018-07-31 | 79.2209 | 0.097469 | 12.736 | 0.23826 | -0.097469 | -0.01083 | 0.35739 | 3.278 | 4.0504 | -0.03249 | 0.16245 | 91.8168
|  |  | #1 | 73.29 | 0.08 | 11.75 | 0.28 | -0.06 | 0.03 | 0.36 | 3.05 | 2.867 | 0 | 0.14 | 91.787 | 2018-07-31 | 79.1751 | 0.086424 | 12.6935 | 0.30248 | -0.064818 | 0.032409 | 0.38891 | 3.0972 | 4.1375 | 0 | 0.15124 | 91.787
|  |  | #1 | 72.92 | 0.04 | 11.87 | 0.34 | 0.03 | 0.03 | 0.31 | 3.04 | 2.8576 | 0.05 | 0.18 | 91.6676 | 2018-07-31 | 79.031 | 0.043352 | 12.8648 | 0.36849 | 0.032514 | 0.032514 | 0.33598 | 3.0971 | 3.945 | 0.05419 | 0.19508 | 91.6676
817 | QUB-1873 | Unknown | #1 | 66.9 | 0.62 | 15.01 | 3.15 | 0.08 | 0.83 | 2.45 | 5.551 | 2.71 | 0.2481 | 0.22 | 97.7691 | 2018-10-02 | 68.4265 | 0.63415 | 15.3525 | 3.2219 | 0.081825 | 0.84894 | 2.5059 | 5.6777 | 2.7718 | 0.25376 | 0.22502 | 97.7691
|  |  | #1 | 67.06 | 0.48 | 15.16 | 3.17 | 0.03 | 0.9 | 2.5 | 5.6238 | 2.77 | 0.1654 | 0.18 | 98.0392 | 2018-10-02 | 68.4012 | 0.4896 | 15.4632 | 3.2334 | 0.0306 | 0.918 | 2.55 | 5.7363 | 2.8254 | 0.16871 | 0.1836 | 98.0392
|  |  | #1 | 67.39 | 0.58 | 15.11 | 2.95 | 0.09 | 0.82 | 2.52 | 5.0778 | 2.63 | 0.2481 | 0.2 | 97.6159 | 2018-10-02 | 69.0359 | 0.59417 | 15.479 | 3.022 | 0.092198 | 0.84003 | 2.5815 | 5.2018 | 2.6942 | 0.25416 | 0.20488 | 97.6159
822 | QUB-1974 | KATLA | #1 | 43.86 | 4.16 | 11.57 | 13.44 | 0.25 | 4.68 | 8.48 | 3.56 | 0.74 | 0.62 | 0.1 | 91.47 | 2017-12-07 | 47.9501 | 4.5479 | 12.649 | 14.6933 | 0.27331 | 5.1164 | 9.2708 | 3.892 | 0.80901 | 0.67782 | 0.10933 | 91.47
824 | QUB-1880 | Unknown | #1a | 70.2597 | 0.10284 | 13.1688 | 1.0945 | 0.026951 | 0.05 | 0.81 | 4.29 | 4.8346 | 0.08 | 0.081 | 94.7984 | 2015-01-19 | 74.1149 | 0.10849 | 13.8914 | 1.1546 | 0.02843 | 0.052744 | 0.85445 | 4.5254 | 5.0998 | 0.08439 | 0.085445 | 94.7984 | mineral entrapment
|  |  | #1c | 71.87 | 0.14 | 14 | 1.28 | 0.13 | 0.06 | 0.72 | 4.69 | 4.89 | 0.01 | 0.11 | 97.89 | 2018-07-31 | 73.4191 | 0.14302 | 14.3018 | 1.3076 | 0.1328 | 0.061293 | 0.73552 | 4.7911 | 4.9954 | 0.010216 | 0.11237 | 97.89 | mineral entrapment
|  |  | #2 | 72.8915 | 0.088151 | 11.5123 | 0.38686 | 0.013476 | 0.06 | 0.78 | 3.1 | 4.0449 | 0.14 | 0.108 | 93.1251 | 2015-01-19 | 78.2726 | 0.094659 | 12.3622 | 0.41542 | 0.01447 | 0.064429 | 0.83758 | 3.3289 | 4.3435 | 0.15034 | 0.11597 | 93.1251
|  |  | #3 | 71.49 | 0.09 | 11.72 | 0.45 | 0 | 0.07 | 0.61 | 2.86 | 4.34 | 0 | 0.18 | 91.81 | 2018-07-31 | 77.8673 | 0.098029 | 12.7655 | 0.49014 | 0 | 0.076244 | 0.66442 | 3.1151 | 4.7272 | 0 | 0.19606 | 91.81

## Secondary glass standards
|  | SiO2 | TiO2 | Al2O3 | FeOt | MnO | MgO | CaO | Na2O | K2O | P2O5 | Cl | Original total
|  | wt% | wt% | wt% | wt% | wt% | wt% | wt% | wt% | wt% | wt% | wt% | wt%
RECOMMENDED VALUES
Lipari | Mean | 74.1 | 0.074 | 13.1 | 1.55 | 0.065 | 0.041 | 0.73 | 4.07 | 5.11 | 0.01 | 0.34 | 99.19 | Kuehn et al. 2011
| 2SD | 1.4 | 0.02 | 0.5 | 0.05 | 0.031 | 0.022 | 0.06 | 0.22 | 0.27 | 0.02 | 0.05
ATho | XRF | 75.0579 | 0.2721 | 12.1637 | 3.4566 | 0.10078 | 0.10078 | 1.7636 | 4.3434 | 2.7411 |  |  | 100 | Óskarsson et al. 1982
Laki | Mean | 49.7 | 3.08 | 13 | 14.1 | 0.231 | 5.39 | 9.7 | 2.85 | 0.46 | 0.345 | 0.046 | 98.9 | Kuehn et al. 2011
| 2SD | 1.4 | 0.22 | 0.5 | 0.6 | 0.101 | 0.25 | 0.38 | 0.25 | 0.04 | 0.053 | 0.042
2013-07-10 | Lipari1 | 74.7652 | 0.091874 | 13.2503 | 1.5823 | 0.1225 | 0.040833 | 0.75541 | 3.8485 | 5.2062 | - | 0.32666 | 97.96
2013-07-10 | Lipari2 | 75.1011 | 0.020218 | 13.2127 | 1.5871 | 0.010109 | 0.040437 | 0.77841 | 3.7101 | 5.1152 | - | 0.42459 | 98.92
2013-07-10 | Lipari3 | 74.6983 | 0.090507 | 13.1034 | 1.6895 | 0.030169 | 0.020113 | 0.72405 | 4.1533 | 5.1086 | - | 0.3922 | 99.44
2013-07-10 | Lipari4 | 74.8528 | 0.081218 | 13.2386 | 1.5431 | 0.010152 | 0.020305 | 0.67005 | 4 | 5.198 | - | 0.38579 | 98.5
2013-07-10 | Lipari5 | 74.6037 | 0.080273 | 13.1848 | 1.475 | 0.10034 | 0.040136 | 0.74252 | 4.2143 | 5.1475 | - | 0.42143 | 99.66
2013-07-10 | Lipari6 | 74.822 | 0.1103 | 13.2257 | 1.5442 | -0.020054 | 0.040108 | 0.73198 | 4.0409 | 5.1339 | - | 0.371 | 99.73
| Mean | 74.8072 | 0.079065 | 13.2026 | 1.5702 | 0.042203 | 0.033655 | 0.73374 | 3.9945 | 5.1516 | - | 0.38694 | 99.035
| SD | 0.16954 | 0.030788 | 0.053604 | 0.070888 | 0.056401 | 0.010419 | 0.036593 | 0.18864 | 0.041554 | - | 0.03612 | 0.70608
2015-01-19 | Lipari1 | 75.1369 | 0.083531 | 13.087 | 1.6386 | 0.027694 | 0.041103 | 0.77067 | 3.8225 | 5.0767 | - | 0.31533 | 97.3176
2015-01-19 | Lipari2 | 74.961 | 0.11321 | 13.1551 | 1.5611 | 0.089456 | 0.051064 | 0.69448 | 3.8298 | 5.2129 | - | 0.33183 | 97.9157
2015-01-19 | Lipari3 | 74.4809 | 0.015135 | 13.3809 | 1.4976 | 0.13799 | 0.03072 | 0.75776 | 4.1882 | 5.1873 | - | 0.32347 | 97.6563
2015-01-19 | Lipari4 | 74.7877 | 0.10661 | 13.2199 | 1.5362 | -0.034715 | 0.041218 | 0.76254 | 4.0188 | 5.1803 | - | 0.38132 | 97.0439
2015-01-19 | Lipari5 | 74.2336 | 0.060885 | 13.2228 | 1.6422 | 0.076328 | 0.07209 | 0.83418 | 4.3666 | 5.1475 | - | 0.34391 | 97.1015
2015-01-19 | Lipari6 | 75.0083 | 0.067668 | 13.0735 | 1.488 | 0.095971 | 0.020348 | 0.71218 | 4.1103 | 5.0657 | - | 0.35812 | 98.2895
| Mean | 74.7681 | 0.074507 | 13.1899 | 1.5606 | 0.065454 | 0.042757 | 0.7553 | 4.056 | 5.1451 | - | 0.34233 | 97.5541
| SD | 0.34626 | 0.035686 | 0.11298 | 0.067196 | 0.060575 | 0.017785 | 0.049144 | 0.21162 | 0.061006 | - | 0.024359 | 0.49054
2017-12-07 | Lipari1 | 74.9418 | 0.052341 | 13.2004 | 1.5912 | 0.20936 | 0.052341 | 0.72231 | 3.7371 | 5.0352 | 0.14655 | 0.31143 | 95.58
2017-12-07 | Lipari2 | 74.8048 | 0.12546 | 13.2463 | 1.5055 | 0.02091 | 0.073184 | 0.77366 | 3.8788 | 5.1438 | 0.12546 | 0.30215 | 95.69
2017-12-07 | Lipari3 | 74.4182 | 0.031321 | 13.3218 | 1.5974 | 0.19837 | 0.041761 | 0.7517 | 4.0613 | 5.2097 | 0.031321 | 0.33722 | 95.85
2017-12-07 | Lipari4 | 74.869 | 0.10388 | 13.1828 | 1.4959 | 0.25971 | 0.051942 | 0.74796 | 3.6879 | 5.2253 | 0.031165 | 0.34437 | 96.32
2017-12-07 | Lipari5 | 74.7316 | 0.11475 | 13.1542 | 1.5856 | 0.27122 | 0 | 0.75107 | 3.7658 | 5.1428 | 0.14604 | 0.33694 | 95.91
2017-12-07 | Lipari6 | 74.5613 | 0.12479 | 13.1236 | 1.6223 | 0.27038 | 0.051995 | 0.64474 | 3.9204 | 5.1475 | 0.13519 | 0.39776 | 96.22
2017-12-07 | Lipari7 | 74.672 | 0.072952 | 13.2461 | 1.4278 | 0.17717 | 0.041687 | 0.76079 | 3.9707 | 5.1275 | 0.16675 | 0.33662 | 96.02
| Mean | 74.7141 | 0.089356 | 13.2107 | 1.5465 | 0.20102 | 0.044702 | 0.73603 | 3.8603 | 5.1474 | 0.11178 | 0.33807 | 95.9414
| SD | 0.18121 | 0.037465 | 0.066482 | 0.070924 | 0.087814 | 0.022328 | 0.043138 | 0.13562 | 0.061881 | 0.056439 | 0.030571 | 0.2678
2017-12-07 | Laki-1 | 50.0105 | 2.8929 | 13.2232 | 14.1279 | 0.36819 | 5.6911 | 9.7412 | 3.1033 | 0.43131 | 0.35767 | 0.052598 | 95.06
2017-12-07 | Laki-2 | 50.168 | 2.9189 | 13.3137 | 14.2482 | 0.231 | 5.4599 | 9.7963 | 3.0449 | 0.37799 | 0.40949 | 0.031499 | 95.24
2017-12-07 | Laki-3 | 49.7282 | 3.0525 | 13.203 | 14.3529 | 0.2927 | 5.7077 | 9.6801 | 3.1466 | 0.47042 | 0.34497 | 0.031361 | 95.66
2017-12-07 | Laki-5 | 50.3158 | 3.3895 | 12.7158 | 14.4 | 0.24211 | 5.3263 | 9.8632 | 2.8316 | 0.43158 | 0.43158 | 0.063158 | 95
| Mean | 50.0556 | 3.0635 | 13.1139 | 14.2823 | 0.2835 | 5.5463 | 9.7702 | 3.0316 | 0.42782 | 0.38593 | 0.044654 | 95.24
| SD | 0.25136 | 0.22831 | 0.26976 | 0.12088 | 0.062522 | 0.1852 | 0.078055 | 0.13969 | 0.037963 | 0.041293 | 0.015867 | 0.29799
2018-07-31 | Lipari1 | 74.5711 | 0.12593 | 13.38 | 1.6791 | 0.010494 | 0.062965 | 0.7136 | 4.0839 | 5.0162 | 0.031482 | 0.32532 | 95.2916
2018-07-31 | Lipari2 | 74.8739 | 0.020979 | 13.458 | 1.479 | 0.020979 | 0.041958 | 0.72377 | 3.8849 | 5.1294 | 0.031468 | 0.33566 | 95.3336
2018-07-31 | Lipari3 | 74.7002 | 0.073011 | 13.1315 | 1.4185 | 0.12516 | 0.05215 | 0.68838 | 4.3041 | 5.0586 | 0.13559 | 0.3129 | 95.8766
2018-07-31 | Lipari4 | 75.2508 | 0.094037 | 13.5414 | 1.5777 | 0.10449 | 0.052243 | 0.7523 | 3.3296 | 5.0885 | -0.12538 | 0.33436 | 95.7066
2018-07-31 | Lipari5 | 74.8622 | 0.062848 | 13.3656 | 1.456 | 0.052373 | 0.041899 | 0.75417 | 3.9582 | 5.0802 | -0.041899 | 0.40851 | 95.4688
2018-07-31 | Lipari6 | 74.4225 | 0.093378 | 13.3531 | 1.6289 | 0.17638 | 0.020751 | 0.78853 | 4.0279 | 5.1047 | 0.010375 | 0.37351 | 96.3822
2018-07-31 | Lipari7 | 74.6339 | 0.083343 | 13.3453 | 1.4064 | 0.083343 | 0.05209 | 0.76051 | 4.1032 | 5.1673 | -0.010418 | 0.37504 | 95.9886
2018-07-31 | Lipari8 | 74.607 | 0.12481 | 13.2822 | 1.6122 | -0.020802 | 0.041604 | 0.75928 | 4.1748 | 4.9925 | 0.062407 | 0.36404 | 96.1438
2018-07-31 | Lipari9 | 74.5653 | 0.072595 | 13.4923 | 1.5971 | -0.031112 | 0.051853 | 0.69484 | 4.1333 | 5.0402 | 0 | 0.38372 | 96.4256
2018-07-31 | Lipari10 | 74.4739 | 0.10466 | 13.3961 | 1.5908 | -0.010466 | 0.052329 | 0.764 | 4.2598 | 5.1387 | -0.094191 | 0.32444 | 95.5502
2018-07-31 | Lipari11 | 74.4263 | 0.072875 | 13.4194 | 1.4367 | 0.12493 | 0.062464 | 0.77039 | 4.3254 | 5.0908 | -0.083286 | 0.35396 | 96.0548
2018-07-31 | Lipari12 | 74.5521 | 0.083322 | 13.4981 | 1.4998 | 0.10415 | 0.041661 | 0.71865 | 4.0238 | 5.1243 | -0.010415 | 0.36453 | 96.0134
2018-07-31 | Lipari13 | 74.4181 | 0.10313 | 13.4893 | 1.6501 | 0.041252 | 0.041252 | 0.76316 | 4.1103 | 5.1049 | -0.020626 | 0.29908 | 96.9656
2018-07-31 | Lipari14 | 74.4741 | 0.061413 | 13.3472 | 1.4432 | 0.1433 | 0.061413 | 0.73696 | 4.195 | 5.0973 | 0.051178 | 0.38895 | 97.6984
| Mean | 74.6308 | 0.084024 | 13.3928 | 1.534 | 0.066033 | 0.048331 | 0.74204 | 4.0653 | 5.0881 | -0.0045512 | 0.35314 | 96.0643
| SD | 0.2314 | 0.02733 | 0.1055 | 0.094612 | 0.066267 | 0.011232 | 0.029879 | 0.24623 | 0.04806 | 0.06829 | 0.031896 | 0.65879
2018-10-02 | Lipari1 | 74.562 | 0.093293 | 13.372 | 1.5964 | -0.010366 | 0.031098 | 0.78781 | 4.1982 | 5.0171 | -0.041464 | 0.3939 | 96.47
2018-10-02 | Lipari2 | 74.3666 | 0.082389 | 13.4604 | 1.5654 | 0.072091 | 0.061792 | 0.71061 | 4.1607 | 4.9949 | 0.15448 | 0.36045 | 97.1
2018-10-02 | Lipari3 | 74.6019 | 0.020818 | 13.3548 | 1.5822 | 0.12491 | 0.041636 | 0.71823 | 4.2365 | 4.8923 | 0.10409 | 0.33309 | 96.07
2018-10-02 | Lipari4 | 74.3826 | 0.10223 | 13.3615 | 1.605 | 0.12268 | 0.040892 | 0.78717 | 4.0747 | 5.1217 | 0.033531 | 0.36803 | 98.21
2018-10-02 | Lipari5 | 74.7286 | 0.061938 | 13.2858 | 1.4349 | 0.020646 | 0.010323 | 0.82584 | 4.0488 | 5.1306 | 0.10158 | 0.35098 | 97.27
2018-10-02 | Lipari6 | 74.4985 | 0.061459 | 13.3161 | 1.6287 | 0.061459 | 0.030729 | 0.72726 | 4.0734 | 5.0909 | 0.14279 | 0.36875 | 98.04
| Mean | 74.5234 | 0.070355 | 13.3584 | 1.5688 | 0.065236 | 0.036078 | 0.75949 | 4.132 | 5.0412 | 0.082501 | 0.36254 | 97.1933
| SD | 0.13769 | 0.029295 | 0.059437 | 0.068953 | 0.054084 | 0.016923 | 0.047121 | 0.077152 | 0.091482 | 0.074042 | 0.020286 | 0.84263
2018-10-02 | Atho-1 | 75.1029 | 0.25088 | 12.1525 | 3.3618 | 0.080281 | 0.12042 | 1.6959 | 4.4054 | 2.6493 | 0.090316 | 0.090316 | 99.65
2018-10-02 | Atho-2 | 75.1966 | 0.21174 | 12.2505 | 3.2265 | 0.090744 | 0.080661 | 1.704 | 4.3557 | 2.7425 | 0.050413 | 0.090744 | 99.18
2018-10-02 | Atho-3 | 75.22 | 0.22 | 12.26 | 3.25 | -0.05 | 0.1 | 1.7 | 4.43 | 2.73 | 0.08 | 0.06 | 100
2018-10-02 | Atho-4 | 74.8846 | 0.18069 | 12.0357 | 3.2423 | 0.14053 | 0.12046 | 1.6864 | 4.8785 | 2.6501 | 0.11042 | 0.060229 | 99.62
2018-10-02 | Atho-5 | 74.8681 | 0.23336 | 12.1753 | 3.2163 | 0.091315 | 0.081169 | 1.7147 | 4.6469 | 2.78 | 0.091315 | 0.091315 | 98.56
2018-10-02 | Atho-6 | 74.9145 | 0.27168 | 12.1654 | 3.23 | 0.11069 | 0.060374 | 1.7106 | 4.6287 | 2.7168 | 0.14087 | 0.060374 | 99.38
| Mean | 75.0311 | 0.22806 | 12.1732 | 3.2545 | 0.07726 | 0.093847 | 1.7019 | 4.5575 | 2.7115 | 0.09389 | 0.075496 | 99.3983
| SD | 0.16117 | 0.03171 | 0.081106 | 0.053885 | 0.065886 | 0.024113 | 0.010226 | 0.19811 | 0.052295 | 0.030276 | 0.016759 | 0.49503
2018-10-02 | Laki-1 | 49.5379 | 3.1555 | 13.2178 | 14.3358 | 0.22987 | 5.611 | 10.01 | 3.0142 | 0.4702 | 0.33415 | 0.083591 | 96.07
2018-10-02 | Laki-2 | 49.6772 | 2.8765 | 13.2277 | 14.5084 | 0.32544 | 5.9 | 10.2042 | 2.4839 | 0.40943 | 0.38738 | 0 | 95.59
2018-10-02 | Laki-3 | 49.8206 | 3.2378 | 13.275 | 13.9853 | 0.16711 | 5.6714 | 9.985 | 3.0795 | 0.42823 | 0.30832 | 0.041778 | 96.11
| Mean | 49.6785 | 3.09 | 13.2402 | 14.2765 | 0.24081 | 5.7275 | 10.0664 | 2.8592 | 0.43595 | 0.34329 | 0.04179 | 95.9233
| SD | 0.14134 | 0.18938 | 0.030613 | 0.26657 | 0.079729 | 0.15241 | 0.11999 | 0.32666 | 0.031113 | 0.040312 | 0.041795 | 0.28937